Global Warming Potentials at 100 year time horizon

This Table gives the GWPs of Fluorocarbons relative to CO2, for a 100-year time horizon, as assessed in the SROC Report, together with their lifetimes and GWPs as used for reporting under the UNFCCC and .

| NAME | GWP for direct radiative forcinga | GWP for indirect radiative forcing b | Lifetime (years) | UNFCCC Reporting GWPc |
| --- | --- | --- | --- | --- |
| CFCs |  |  |  |  |
| CFC-11 | 4,680 ± 1,640 | 3,420 ± 2,710 | 45 | nad |
| CFC-12 | 10,720 ± 3750 | 1,920 ± 1,630 | 100 | nad |
| CFC-113 | 6,030 ± 2,110 | 2,250 ± 1,890 | 85 | nad |
| CFC-114 | 9,880 ± 3,460 | Not available | 300 | nad |
| CFC-115 | 7,250 ± 2,540 | Not available | 1,700 | nad |
| HCFCs |  |  |  |  |
| HCFC-22 | 1,780 ± 620 | 269 ± 183 | 12 | nad |
| HCFC-123 | 76 ± 27 | 82 ± 55 | 1.3 | nad |
| HCFC-124 | 599 ± 210 | 114 ± 76 | 5.8 | nad |
| HCFC-141b | 713 ± 250 | 631 ± 424 | 9.3 | nad |
| HCFC-142b | 2,270 ± 800 | 337 ± 237 | 17.9 | nad |
| HFCs |  |  |  |  |
| HFC-23 | 14,310 ± 5,000 |  | 270 | 11,700 |
| HFC-32 | 670 ± 240 |  | 4.9 | 650 |
| HFC-125 | 3,450 ± 1,210 |  | 29 | 2,800 |
| HFC-134a | 1,410 ± 490 |  | 14 | 1,300 |
| HFC-143a | 4,400 ± 1,540 |  | 52 | 3,800 |
| HFC-152a | 122 ± 43 |  | 1.4 | 140 |
| HFC-227ea | 3,140 ± 1,100 |  | 34.2 | 2,900 |
| HFC-236fa | nad | nad | 200 | 6,300 |
| HFC-245fa | 1,020 ± 360 |  | 7.6 | e |
| HFC-365mfc | 782 ± 270 |  | 8.6 | e |
| HFC-43-10-mee | 1,610 ± 560 |  | 15.9 | 1,300 |
| PFCs |  |  |  |  |
| CF4 | 5,820 ± 2,040 |  | 50,000 | 6,500 |
| C2F6 | 12,010 ± 4,200 |  | 10,000 | 9,200 |
| C6F14 | 9,140 ± 3,200 |  | 3,200 | 7,400 |
| Others |  |  |  |  |
| SF6 |  |  | 3,200 | 23,900 |
| CCl4 | 1380 ± 480 | 3330 ± 2460 | 26 |  |
| Methyl chloroform | 144 ± 50 | 610 ± 407 | 5.0 |  |

Notes

(a) Uncertainties in GWPs for direct positive radiative forcing are taken to be ±35% (IPCC, 2001).

(b) Based on 2005 Fluorocarbons concentrations, as uncertainties in GWPs for indirect negative radiative forcing consider estimated uncertainty in the time of recovery of the ozone layer as well as uncertainty in the negative radiative forcing due to ozone depletion.

(c) The UNFCCC reporting guidelines use GWP values from the IPCC Second Assessment Report (see http://unfccc.int/resource/docs/2004/sbsta/08.pdf page 15)

(d) ODSs are not covered under the UNFCCC.

(e) The IPCC Second Assessment Report does not contain GWP values for HFC-245fa or HFC-365mfc. However, the UNFCCC reporting guidelines contain provisions relating to the reporting of emissions from all greenhouse gases for which IPCC-assessed GWP values exist.

Source : Summary for Policymakers of the IPCC/TEAP Special Report on Ozone and Climate